## Micro, Nano ,Pico
The RGB calculations for a given Color space condition were calculated from formulas at http://www.brucelindbloom.com/ RGB values for other color spaces can be calculated by visiting the above URL.
All measurements are based on batch measurements of Munsell color papers as purchased from X-Rite Corp. There can always be inter-batch variations. The values listed below should be considered nominal for the batch provided to ISA by X-Rite Corp. For critical color calculations the user should perform their own optical measurments of the colorimetric values or contact us (info@imagescienceassociates.com) for individual target calibrations. The count values shown in RED below are considered out-of-gamut for the particular color space listed. All L*a*b* values are for D50 illuminant, 2 degree observer. Bradford adoption used for selected color spaces
Gloss Neutral Patch Versions
| Patch # | Average (n=50) |  |  | St. Dev. (n=50) |  |  | Adobe RGB (1998) |  |  | sRGB |  |  | ProPhoto |  |  | eciv2 |  |  | Status T density
|  | L* | a* | b* | L* | a* | b* | R | G | B | R | G | B | R | G | B | R | G | B
| 1 | 38.7614 | 13.8053 | 14.6939 | 0.078474 | 0.12023 | 0.18221 | 109 | 83 | 71 | 109 | 83 | 71 | 83 | 69 | 55 | 116 | 91 | 76
| 2 | 65.1521 | 19.2081 | 17.9204 | 0.10401 | 0.65671 | 0.54502 | 187 | 146 | 129 | 202 | 148 | 130 | 161 | 136 | 115 | 192 | 158 | 141
| 3 | 49.6126 | -4.1954 | -21.3266 | 0.091695 | 0.38863 | 0.30624 | 101 | 120 | 151 | 92 | 121 | 154 | 94 | 101 | 132 | 113 | 128 | 160
| 4 | 43.5446 | -12.8852 | 22.6556 | 0.32631 | 0.078764 | 0.10616 | 97 | 108 | 68 | 91 | 109 | 64 | 76 | 87 | 55 | 104 | 118 | 72
| 5 | 55.5164 | 8.7821 | -24.3135 | 0.35407 | 0.16945 | 0.29384 | 130 | 128 | 172 | 131 | 129 | 175 | 119 | 112 | 154 | 141 | 135 | 181
| 6 | 70.4218 | -32.3853 | -0.48115 | 0.083509 | 0.15684 | 0.21877 | 130 | 187 | 171 | 95 | 189 | 172 | 127 | 167 | 157 | 144 | 195 | 179
| 7 | 50.8572 | -27.7794 | -27.682 | 0.12578 | 0.15379 | 0.55344 | 64 | 134 | 165 | -49 | 135 | 168 | 78 | 110 | 146 | 79 | 141 | 173
| 8 | 95.3392 | -0.89535 | 1.9004 | 0.27474 | 0.084333 | 0.943 | 241 | 242 | 237 | 241 | 242 | 238 | 237 | 238 | 234 | 243 | 244 | 240 | 0.05
| 9 | 92.0947 | -0.91657 | 1.4609 | 0.11429 | 0.066872 | 0.43566 | 231 | 232 | 229 | 231 | 233 | 229 | 226 | 227 | 224 | 234 | 235 | 232 | 0.09
| 10 | 86.924 | -1.1152 | 0.97165 | 0.17064 | 0.018054 | 0.083864 | 216 | 217 | 215 | 216 | 218 | 216 | 208 | 209 | 207 | 221 | 222 | 220 | 0.16
| 11 | 82.3656 | -1.1235 | 0.56315 | 0.17142 | 0.10901 | 0.15808 | 203 | 204 | 203 | 203 | 206 | 204 | 193 | 194 | 193 | 209 | 211 | 209 | 0.21
| 12 | 63.1343 | 35.4263 | 57.8449 | 0.35486 | 0.92341 | 0.52713 | 202 | 125 | 55 | 225 | 126 | 46 | 203 | 138 | 65 | 203 | 138 | 65
| 13 | 52.852 | 49.8976 | -12.8636 | 0.14205 | 0.29021 | 0.20032 | 172 | 87 | 147 | 196 | 86 | 150 | 146 | 87 | 127 | 178 | 93 | 158
| 14 | 72.1692 | -1.0473 | -0.042397 | 0.11492 | 0.019541 | 0.087421 | 174 | 176 | 175 | 175 | 178 | 177 | 160 | 162 | 161 | 183 | 185 | 184 | 0.36
| 15 | 62.3202 | -1.1 | -0.01009 | 0.23276 | 0.15459 | 0.078042 | 148 | 150 | 149 | 149 | 151 | 151 | 132 | 133 | 133 | 158 | 160 | 159 | 0.51
| 16 | 49.6111 | -1.2898 | -0.10147 | 0.35067 | 0.13013 | 0.11751 | 116 | 118 | 117 | 116 | 119 | 118 | 98 | 99 | 99 | 125 | 127 | 127 | 0.74
| 17 | 38.8891 | -0.23241 | -0.48394 | 0.10603 | 0.02296 | 0.056986 | 92 | 92 | 93 | 91 | 91 | 92 | 73 | 73 | 74 | 99 | 99 | 99 | 0.97
| 18 | 40.0796 | 10.2539 | -44.7702 | 0.42726 | 0.83298 | 1.3555 | 78 | 92 | 165 | 70 | 91 | 168 | 79 | 75 | 143 | 89 | 94 | 173
| 19 | 82.0195 | 3.2828 | 78.754 | 0.31113 | 0.22015 | 0.52505 | 227 | 198 | 55 | 238 | 200 | 27 | 200 | 190 | 68 | 227 | 209 | 65
| 20 | 28.6038 | -1.0864 | 0.069697 | 0.13379 | 0.081703 | 0.21026 | 68 | 70 | 69 | 66 | 68 | 67 | 51 | 52 | 52 | 72 | 74 | 73 | 1.25
| 21 | 17.9713 | 0.044566 | 0.092221 | 0.2479 | 0.052655 | 0.15052 | 48 | 48 | 48 | 44 | 44 | 44 | 33 | 33 | 33 | 46 | 46 | 46 | 1.6
| 22 | 9.4977 | 0.44603 | 0.246 | 1.0864 | 0.21029 | 0.19538 | 33 | 32 | 32 | 27 | 26 | 26 | 21 | 20 | 20 | 25 | 24 | 24 | 1.97
| 23 | 4.335 | 0.32025 | -0.47056 | 1.1812 | 0.42809 | 0.27398 | 23 | 23 | 23 | 15 | 15 | 16 | 13 | 13 | 14 | 11 | 11 | 12 | 2.32
| 24 | 51.7495 | 47.3627 | 16.9343 | 0.33605 | 0.15812 | 0.26721 | 175 | 85 | 97 | 199 | 85 | 97 | 142 | 85 | 80 | 179 | 95 | 108
| 25 | 43.4803 | 50.7392 | 29.1311 | 0.11985 | 0.31327 | 0.22245 | 157 | 60 | 61 | 181 | 57 | 58 | 122 | 64 | 48 | 162 | 66 | 68
| 26 | 55.6024 | -38.4596 | 32.1895 | 0.38337 | 0.87988 | 0.49963 | 100 | 148 | 80 | 68 | 150 | 73 | 86 | 124 | 69 | 110 | 159 | 84
| 27 | 29.5146 | 13.4167 | -47.6909 | 0.29894 | 1.4102 | 2.0368 | 53 | 67 | 141 | 42 | 65 | 145 | 58 | 52 | 118 | 61 | 63 | 150
| 28 | 72.0985 | 19.5056 | 67.8499 | 0.2205 | 0.2262 | 0.65223 | 213 | 160 | 56 | 231 | 162 | 40 | 182 | 152 | 60 | 214 | 174 | 66
| 29 | 72.4953 | -22.9199 | 56.0795 | 0.30448 | 0.22825 | 0.29059 | 167 | 187 | 77 | 160 | 189 | 66 | 145 | 169 | 76 | 175 | 197 | 84
| 30 | 30.3195 | 22.1323 | -19.0239 | 0.3393 | 0.98669 | 0.46336 | 86 | 61 | 100 | 94 | 58 | 102 | 68 | 49 | 79 | 93 | 61 | 108
Matte Neutral Patch Versions
| Patch # | Average (n=50) |  |  | St. Dev. (n=50) |  |  | Adobe RGB (1998) |  |  | sRGB |  |  | ProPhoto |  |  | eciv2 |  |  | Status T density
|  | L* | a* | b* | L* | a* | b* | R | G | B | R | G | B | R | G | B | R | G | B
| 1 | 38.7614 | 13.8053 | 14.6939 | 0.078474 | 0.12023 | 0.18221 | 109 | 83 | 71 | 118 | 83 | 68 | 83 | 69 | 55 | 116 | 91 | 76
| 2 | 65.1521 | 19.2081 | 17.9204 | 0.10401 | 0.65671 | 0.54502 | 187 | 146 | 129 | 199 | 145 | 127 | 161 | 136 | 115 | 192 | 158 | 141
| 3 | 49.6126 | -4.1954 | -21.3266 | 0.091695 | 0.38863 | 0.30624 | 101 | 120 | 151 | 92 | 121 | 154 | 94 | 101 | 132 | 113 | 128 | 160
| 4 | 43.5446 | -12.8852 | 22.6556 | 0.32631 | 0.078764 | 0.10616 | 97 | 108 | 68 | 91 | 109 | 64 | 76 | 87 | 55 | 104 | 118 | 72
| 5 | 55.5164 | 8.7821 | -24.3135 | 0.35407 | 0.16945 | 0.29384 | 130 | 128 | 172 | 131 | 129 | 175 | 119 | 112 | 154 | 141 | 135 | 181
| 6 | 70.4218 | -32.3853 | -0.48115 | 0.083509 | 0.15684 | 0.21877 | 130 | 187 | 171 | 95 | 189 | 172 | 127 | 167 | 157 | 144 | 195 | 179
| 7 | 50.8572 | -27.7794 | -27.682 | 0.12578 | 0.15379 | 0.55344 | 64 | 134 | 165 | -49 | 135 | 168 | 78 | 110 | 146 | 79 | 141 | 173
| 8 | 95.0894 | -0.7685 | 3.5421 | 0.13212 | 0.049232 | 0.40933 | 241 | 241 | 234 | 242 | 241 | 234 | 237 | 237 | 230 | 243 | 243 | 237 | 0.06
| 9 | 88.691 | -0.49788 | 1.2495 | 0.21419 | 0.044183 | 0.095049 | 222 | 222 | 219 | 222 | 223 | 220 | 215 | 215 | 212 | 226 | 226 | 224 | 0.13
| 10 | 83.4627 | -0.8771 | 1.9155 | 0.33026 | 0.034642 | 0.090322 | 207 | 207 | 203 | 207 | 208 | 204 | 197 | 198 | 194 | 213 | 213 | 210 | 0.2
| 11 | 76.3101 | -0.8853 | 1.3284 | 0.089825 | 0.44379 | 0.13692 | 186 | 187 | 184 | 187 | 189 | 186 | 174 | 175 | 172 | 194 | 195 | 192 | 0.3
| 12 | 63.1343 | 35.4263 | 57.8449 | 0.35486 | 0.92341 | 0.52713 | 202 | 125 | 55 | 225 | 126 | 46 | 203 | 138 | 65 | 203 | 138 | 65
| 13 | 52.852 | 49.8976 | -12.8636 | 0.14205 | 0.29021 | 0.20032 | 172 | 87 | 147 | 196 | 86 | 150 | 146 | 87 | 127 | 178 | 93 | 158
| 14 | 69.4333 | -0.7813 | 0.7429 | 0.24437 | 0.44375 | 0.21872 | 169 | 170 | 168 | 169 | 170 | 168 | 153 | 153 | 152 | 176 | 177 | 176 | 0.4
| 15 | 61.6645 | -0.8917 | 0.7335 | 0.29567 | 0.099868 | 0.12248 | 147 | 148 | 146 | 148 | 149 | 148 | 130 | 131 | 129 | 157 | 158 | 156 | 0.52
| 16 | 55.9817 | -0.8438 | 0.6643 | 0.13297 | 0.14979 | 0.26193 | 132 | 133 | 132 | 133 | 135 | 133 | 132 | 133 | 132 | 142 | 143 | 142 | 0.62
| 17 | 48.5362 | -0.6723 | 0.3776 | 0.23066 | 0.082896 | 0.084227 | 114 | 115 | 114 | 114 | 116 | 115 | 95 | 96 | 95 | 123 | 124 | 123 | 0.76
| 18 | 40.0796 | 10.2539 | -44.7702 | 0.42726 | 0.83298 | 1.3555 | 78 | 92 | 165 | 70 | 91 | 168 | 79 | 75 | 143 | 89 | 94 | 173
| 19 | 82.0195 | 3.2828 | 78.754 | 0.31113 | 0.22015 | 0.52505 | 227 | 198 | 55 | 238 | 200 | 27 | 200 | 190 | 68 | 227 | 209 | 65
| 20 | 40.9204 | -0.591 | 0.2783 | 0.25094 | 0.062808 | 0.11611 | 96 | 97 | 96 | 96 | 97 | 96 | 77 | 78 | 77 | 104 | 105 | 104 | 0.93
| 21 | 31.3839 | -0.443 | -0.1684 | 0.36374 | 0.12715 | 0.12559 | 75 | 75 | 75 | 73 | 74 | 74 | 57 | 57 | 58 | 80 | 80 | 80 | 1.17
| 22 | 24.0748 | 0.354 | -0.3489 | 0.22715 | 0.02498 | 0.11322 | 60 | 60 | 60 | 58 | 57 | 58 | 44 | 43 | 44 | 62 | 61 | 62 | 1.38
| 23 | 22.3072 | 0.1821 | -0.1583 | 0.16525 | 0.035382 | 0.061476 | 56 | 56 | 56 | 54 | 53 | 54 | 40 | 40 | 40 | 57 | 57 | 57 | 1.44
| 24 | 51.7495 | 47.3627 | 16.9343 | 0.33605 | 0.15812 | 0.26721 | 175 | 85 | 97 | 199 | 85 | 97 | 142 | 85 | 80 | 179 | 95 | 108
| 25 | 43.4803 | 50.7392 | 29.1311 | 0.11985 | 0.31327 | 0.22245 | 157 | 60 | 61 | 181 | 57 | 58 | 122 | 64 | 48 | 162 | 66 | 68
| 26 | 55.6024 | -38.4596 | 32.1895 | 0.38337 | 0.87988 | 0.49963 | 100 | 148 | 80 | 68 | 150 | 73 | 86 | 124 | 69 | 110 | 159 | 84
| 27 | 29.5146 | 13.4167 | -47.6909 | 0.29894 | 1.4102 | 2.0368 | 53 | 67 | 141 | 42 | 65 | 145 | 58 | 52 | 118 | 61 | 63 | 150
| 28 | 72.0985 | 19.5056 | 67.8499 | 0.2205 | 0.2262 | 0.65223 | 213 | 160 | 56 | 231 | 162 | 40 | 182 | 152 | 60 | 214 | 174 | 66
| 29 | 72.4953 | -22.9199 | 56.0795 | 0.30448 | 0.22825 | 0.29059 | 167 | 187 | 77 | 160 | 189 | 66 | 145 | 169 | 76 | 175 | 197 | 84
| 30 | 30.3195 | 22.1323 | -19.0239 | 0.3393 | 0.98669 | 0.46336 | 86 | 61 | 100 | 94 | 58 | 102 | 68 | 49 | 79 | 93 | 61 | 108

## RezCheckers
The RGB calculations for a given Color space condition were calculated from formulas at http://www.brucelindbloom.com/ RGB values for other color spaces can be calculated by visiting the above URL.
All measurements are based on batch measurements of Munsell color papers as purchased from X-Rite Corp. There can always be inter-batch variations. The values listed below should be considered nominal for the batch provided to ISA by X-Rite Corp. For critical color calculations the user should perform their own optical measurments of the colorimetric values or contact us (info@imagescienceassociates.com) for individual target calibrations. The count values shown in RED below are considered out-of-gamut for the particular color space listed. All L*a*b* values are for D50 illuminant, 2 degree observer. Bradford adoption used for selected color spaces
Gloss Neutral Patch Versions
| Patch # | Average (n=50) |  |  | St. Dev. (n=50) |  |  | Adobe RGB (1998) |  |  | sRGB |  |  | ProPhoto |  |  | eciv2 |  |  | Status T density
|  | L* | a* | b* | L* | a* | b* | R | G | B | R | G | B | R | G | B | R | G | B
| 1 | 38.7614 | 13.8053 | 14.6939 | 0.078474 | 0.12023 | 0.18221 | 109 | 83 | 71 | 109 | 83 | 71 | 83 | 69 | 55 | 116 | 91 | 76
| 2 | 65.1521 | 19.2081 | 17.9204 | 0.10401 | 0.65671 | 0.54502 | 187 | 146 | 129 | 202 | 148 | 130 | 161 | 136 | 115 | 192 | 158 | 141
| 3 | 49.6126 | -4.1954 | -21.3266 | 0.091695 | 0.38863 | 0.30624 | 101 | 120 | 151 | 92 | 121 | 154 | 94 | 101 | 132 | 113 | 128 | 160
| 4 | 43.5446 | -12.8852 | 22.6556 | 0.32631 | 0.078764 | 0.10616 | 97 | 108 | 68 | 91 | 109 | 64 | 76 | 87 | 55 | 104 | 118 | 72
| 5 | 50.8572 | -27.7794 | -27.682 | 0.12578 | 0.15379 | 0.55344 | 64 | 134 | 165 | -49 | 135 | 168 | 78 | 110 | 146 | 79 | 141 | 173
| 6 | 55.5164 | 8.7821 | -24.3135 | 0.35407 | 0.16945 | 0.29384 | 130 | 128 | 172 | 131 | 129 | 175 | 119 | 112 | 154 | 141 | 135 | 181
| 7 | 52.852 | 49.8976 | -12.8636 | 0.14205 | 0.29021 | 0.20032 | 172 | 87 | 147 | 196 | 86 | 150 | 146 | 87 | 127 | 178 | 93 | 158
| 8 | 70.4218 | -32.3853 | -0.48115 | 0.083509 | 0.15684 | 0.21877 | 130 | 187 | 171 | 95 | 189 | 172 | 127 | 167 | 157 | 144 | 195 | 179
| 9 | 82.0195 | 3.2828 | 78.754 | 0.31113 | 0.22015 | 0.52505 | 227 | 198 | 55 | 238 | 200 | 27 | 200 | 190 | 68 | 227 | 209 | 65
| 10 | 95.3392 | -0.89535 | 1.9004 | 0.27474 | 0.084333 | 0.943 | 241 | 242 | 237 | 241 | 242 | 238 | 237 | 238 | 234 | 243 | 244 | 240 | 0.05
| 11 | 92.0947 | -0.91657 | 1.4609 | 0.11429 | 0.066872 | 0.43566 | 231 | 232 | 229 | 231 | 233 | 229 | 226 | 227 | 224 | 234 | 235 | 232 | 0.09
| 12 | 86.924 | -1.1152 | 0.97165 | 0.17064 | 0.018054 | 0.083864 | 216 | 217 | 215 | 216 | 218 | 216 | 208 | 209 | 207 | 221 | 222 | 220 | 0.16
| 13 | 82.3656 | -1.1235 | 0.56315 | 0.17142 | 0.10901 | 0.15808 | 203 | 204 | 203 | 203 | 206 | 204 | 193 | 194 | 193 | 209 | 211 | 209 | 0.21
| 14 | 63.1343 | 35.4263 | 57.8449 | 0.35486 | 0.92341 | 0.52713 | 202 | 125 | 55 | 225 | 126 | 46 | 203 | 138 | 65 | 203 | 138 | 65
| 15 | 43.4803 | 50.7392 | 29.1311 | 0.11985 | 0.31327 | 0.22245 | 157 | 60 | 61 | 181 | 57 | 58 | 122 | 64 | 48 | 162 | 66 | 68
| 16 | 72.1692 | -1.0473 | -0.042397 | 0.11492 | 0.019541 | 0.087421 | 174 | 176 | 175 | 175 | 178 | 177 | 160 | 162 | 161 | 183 | 185 | 184 | 0.36
| 17 | 62.3202 | -1.1 | -0.01009 | 0.23276 | 0.15459 | 0.078042 | 148 | 150 | 149 | 149 | 151 | 151 | 132 | 133 | 133 | 158 | 160 | 159 | 0.51
| 18 | 49.6111 | -1.2898 | -0.10147 | 0.35067 | 0.13013 | 0.11751 | 116 | 118 | 117 | 116 | 119 | 118 | 98 | 99 | 99 | 125 | 127 | 127 | 0.74
| 19 | 38.8891 | -0.23241 | -0.48394 | 0.10603 | 0.02296 | 0.056986 | 92 | 92 | 93 | 91 | 91 | 92 | 73 | 73 | 74 | 99 | 99 | 99 | 0.97
| 20 | 40.0796 | 10.2539 | -44.7702 | 0.42726 | 0.83298 | 1.3555 | 78 | 92 | 165 | 70 | 91 | 168 | 79 | 75 | 143 | 89 | 94 | 173
| 21 | 55.6024 | -38.4596 | 32.1895 | 0.38337 | 0.87988 | 0.49963 | 100 | 148 | 80 | 68 | 150 | 73 | 86 | 124 | 69 | 110 | 159 | 84
| 22 | 28.6038 | -1.0864 | 0.069697 | 0.13379 | 0.081703 | 0.21026 | 68 | 70 | 69 | 66 | 68 | 67 | 51 | 52 | 52 | 72 | 74 | 73 | 1.25
| 23 | 17.9713 | 0.044566 | 0.092221 | 0.2479 | 0.052655 | 0.15052 | 48 | 48 | 48 | 44 | 44 | 44 | 33 | 33 | 33 | 46 | 46 | 46 | 1.6
| 24 | 9.4977 | 0.44603 | 0.246 | 1.0864 | 0.21029 | 0.19538 | 33 | 32 | 32 | 27 | 26 | 26 | 21 | 20 | 20 | 25 | 24 | 24 | 1.97
| 25 | 4.335 | 0.32025 | -0.47056 | 1.1812 | 0.42809 | 0.27398 | 23 | 23 | 23 | 15 | 15 | 16 | 13 | 13 | 14 | 11 | 11 | 12 | 2.32
| 26 | 51.7495 | 47.3627 | 16.9343 | 0.33605 | 0.15812 | 0.26721 | 175 | 85 | 97 | 199 | 85 | 97 | 142 | 85 | 80 | 179 | 95 | 108
| 27 | 29.5146 | 13.4167 | -47.6909 | 0.29894 | 1.4102 | 2.0368 | 53 | 67 | 141 | 42 | 65 | 145 | 58 | 52 | 118 | 61 | 63 | 150
| 28 | 72.0985 | 19.5056 | 67.8499 | 0.2205 | 0.2262 | 0.65223 | 213 | 160 | 56 | 231 | 162 | 40 | 182 | 152 | 60 | 214 | 174 | 66
| 29 | 72.4953 | -22.9199 | 56.0795 | 0.30448 | 0.22825 | 0.29059 | 167 | 187 | 77 | 160 | 189 | 66 | 145 | 169 | 76 | 175 | 197 | 84
| 30 | 30.3195 | 22.1323 | -19.0239 | 0.3393 | 0.98669 | 0.46336 | 86 | 61 | 100 | 94 | 58 | 102 | 68 | 49 | 79 | 93 | 61 | 108
Matte Neutral Patch Versions
| Patch # | Average (n=50) |  |  | St. Dev. (n=50) |  |  | Adobe RGB (1998) |  |  | sRGB |  |  | ProPhoto |  |  | eciv2 |  |  | Status T density
|  | L* | a* | b* | L* | a* | b* | R | G | B | R | G | B | R | G | B | R | G | B
| 1 | 38.7614 | 13.8053 | 14.6939 | 0.078474 | 0.12023 | 0.18221 | 109 | 83 | 71 | 118 | 83 | 68 | 83 | 69 | 55 | 116 | 91 | 76
| 2 | 65.1521 | 19.2081 | 17.9204 | 0.10401 | 0.65671 | 0.54502 | 187 | 146 | 129 | 199 | 145 | 127 | 161 | 136 | 115 | 192 | 158 | 141
| 3 | 49.6126 | -4.1954 | -21.3266 | 0.091695 | 0.38863 | 0.30624 | 101 | 120 | 151 | 92 | 121 | 154 | 94 | 101 | 132 | 113 | 128 | 160
| 4 | 43.5446 | -12.8852 | 22.6556 | 0.32631 | 0.078764 | 0.10616 | 97 | 108 | 68 | 91 | 109 | 64 | 76 | 87 | 55 | 104 | 118 | 72
| 5 | 50.8572 | -27.7794 | -27.682 | 0.12578 | 0.15379 | 0.55344 | 64 | 134 | 165 | -49 | 135 | 168 | 78 | 110 | 146 | 79 | 141 | 173
| 6 | 55.5164 | 8.7821 | -24.3135 | 0.35407 | 0.16945 | 0.29384 | 130 | 128 | 172 | 131 | 129 | 175 | 119 | 112 | 154 | 141 | 135 | 181
| 7 | 52.852 | 49.8976 | -12.8636 | 0.14205 | 0.29021 | 0.20032 | 172 | 87 | 147 | 196 | 86 | 150 | 146 | 87 | 127 | 178 | 93 | 158
| 8 | 70.4218 | -32.3853 | -0.48115 | 0.083509 | 0.15684 | 0.21877 | 130 | 187 | 171 | 95 | 189 | 172 | 127 | 167 | 157 | 144 | 195 | 179
| 9 | 82.0195 | 3.2828 | 78.754 | 0.31113 | 0.22015 | 0.52505 | 227 | 198 | 55 | 238 | 200 | 27 | 200 | 190 | 68 | 227 | 209 | 65
| 10 | 95.0894 | -0.7685 | 3.5421 | 0.13212 | 0.049232 | 0.40933 | 241 | 241 | 234 | 242 | 241 | 234 | 237 | 237 | 230 | 243 | 243 | 237 | 0.06
| 11 | 88.691 | -0.49788 | 1.2495 | 0.21419 | 0.044183 | 0.095049 | 222 | 222 | 219 | 222 | 223 | 220 | 215 | 215 | 212 | 226 | 226 | 224 | 0.13
| 12 | 83.4627 | -0.8771 | 1.9155 | 0.33026 | 0.034642 | 0.090322 | 207 | 207 | 203 | 207 | 208 | 204 | 197 | 198 | 194 | 213 | 213 | 210 | 0.2
| 13 | 76.3101 | -0.8853 | 1.3284 | 0.089825 | 0.44379 | 0.13692 | 186 | 187 | 184 | 187 | 189 | 186 | 174 | 175 | 172 | 194 | 195 | 192 | 0.3
| 14 | 63.1343 | 35.4263 | 57.8449 | 0.35486 | 0.92341 | 0.52713 | 202 | 125 | 55 | 225 | 126 | 46 | 203 | 138 | 65 | 203 | 138 | 65
| 15 | 43.4803 | 50.7392 | 29.1311 | 0.11985 | 0.31327 | 0.22245 | 157 | 60 | 61 | 181 | 57 | 58 | 122 | 64 | 48 | 162 | 66 | 68
| 16 | 69.4333 | -0.7813 | 0.7429 | 0.24437 | 0.44375 | 0.21872 | 167 | 168 | 167 | 169 | 170 | 168 | 153 | 153 | 152 | 176 | 177 | 176 | 0.4
| 17 | 61.6645 | -0.8917 | 0.7335 | 0.29567 | 0.099868 | 0.12248 | 147 | 148 | 146 | 148 | 149 | 148 | 130 | 131 | 129 | 157 | 158 | 156 | 0.52
| 18 | 55.9817 | -0.8438 | 0.6643 | 0.13297 | 0.14979 | 0.26193 | 132 | 133 | 132 | 133 | 135 | 133 | 132 | 133 | 132 | 142 | 143 | 142 | 0.62
| 19 | 48.5362 | -0.6723 | 0.3776 | 0.23066 | 0.082896 | 0.084227 | 114 | 115 | 114 | 114 | 116 | 115 | 95 | 96 | 95 | 123 | 124 | 123 | 0.76
| 20 | 40.0796 | 10.2539 | -44.7702 | 0.42726 | 0.83298 | 1.3555 | 78 | 92 | 165 | 70 | 91 | 168 | 79 | 75 | 143 | 89 | 94 | 173
| 21 | 55.6024 | -38.4596 | 32.1895 | 0.38337 | 0.87988 | 0.49963 | 100 | 148 | 80 | 68 | 150 | 73 | 86 | 124 | 69 | 110 | 159 | 84
| 22 | 40.9204 | -0.591 | 0.2783 | 0.25094 | 0.062808 | 0.11611 | 96 | 97 | 96 | 96 | 97 | 96 | 77 | 78 | 77 | 104 | 105 | 104 | 0.93
| 23 | 31.3839 | -0.443 | -0.1684 | 0.36374 | 0.12715 | 0.12559 | 75 | 75 | 75 | 73 | 74 | 74 | 57 | 57 | 58 | 80 | 80 | 80 | 1.17
| 24 | 24.0748 | 0.354 | -0.3489 | 0.22715 | 0.02498 | 0.11322 | 60 | 60 | 60 | 58 | 57 | 58 | 44 | 43 | 44 | 62 | 61 | 62 | 1.38
| 25 | 22.3072 | 0.1821 | -0.1583 | 0.16525 | 0.035382 | 0.061476 | 56 | 56 | 56 | 54 | 53 | 54 | 40 | 40 | 40 | 57 | 57 | 57 | 1.44
| 26 | 51.7495 | 47.3627 | 16.9343 | 0.33605 | 0.15812 | 0.26721 | 175 | 85 | 97 | 199 | 85 | 97 | 142 | 85 | 80 | 179 | 95 | 108
| 27 | 29.5146 | 13.4167 | -47.6909 | 0.29894 | 1.4102 | 2.0368 | 53 | 67 | 141 | 42 | 65 | 145 | 58 | 52 | 118 | 61 | 63 | 150
| 28 | 72.0985 | 19.5056 | 67.8499 | 0.2205 | 0.2262 | 0.65223 | 213 | 160 | 56 | 231 | 162 | 40 | 182 | 152 | 60 | 214 | 174 | 66
| 29 | 72.4953 | -22.9199 | 56.0795 | 0.30448 | 0.22825 | 0.29059 | 167 | 187 | 77 | 160 | 189 | 66 | 145 | 169 | 76 | 175 | 197 | 84
| 30 | 30.3195 | 22.1323 | -19.0239 | 0.3393 | 0.98669 | 0.46336 | 86 | 61 | 100 | 94 | 58 | 102 | 68 | 49 | 79 | 93 | 61 | 108